## Sheet1
TaskListGroup | TaskListDescription
11191 | NM54 - 950/900 KW AB -Service Visual GMS
11384 | Transformer inspection V52 EEA
11730 | Transformer inspection V52 EEA
12072 | Insp. of service lift V80/V90 1.8-2.0 MW
12074 | Inspection of Avanti service lift
12189 | V66 1.75/2.0 Internal Crane Inspection
12289 | Inspection of Avanti service lift
12508 | Adjustment of Yaw Controller
15708 | Blade Inspection with Scope and Camera
16626 | Transformer Inspection V80-V100 MK7-10
16711 | Safety Inspection V112 - 3.0 MW 1Y
16712 | V112 - 3.0 MW Inspection of service lift
17481 | Blade Insp. with Scope and Camera 2Y
19510 | Blade Insp. with Scope and Camera 2Y
19511 | Blade Insp. with Scope and Camera yearly
19512 | Blade Insp. with Scope and Camera 2Y
19818 | Blade Insp. with Scope and Camera yearly
20332 | 2MW Annual Blades Inspection
20338 | V90 3MW Annual Blades Inspection
20385 | Inspection of internal electrical crane
20402 | Internal Crane Inspection
20404 | V90 3MW Inspection Internal Crane
20427 | V90 3MW Insp. Service Lift & Safety Line
20658 | V66-V90_2MW Inspection of Internal Crane
20883 | Inspection of Internal Crane
20989 | Blade inspection of 10m LE
22114 | Replace CT387 blade load sensor
23319 | Upgrade Pilz safety software
23559 | V80 1.8/2.0MW Mk1-6 Trafo Insp. 18 Year
23631 | V90 1.8/2.0MW Mk1-6 Trafo Insp. 14 Year
23793 | V100 1.8/2.0MW Mk7 Trafo Insp. 5 Year
23794 | V100 1.8/2.0MW Mk7 Trafo Insp. 6 Year
23795 | V100 1.8/2.0MW Mk7 Trafo Insp. 7 Year
23811 | V100 2.0MW Mk10 Trafo inspection 3 Year
25742 | Install SCADA protection software
26101 | #ALLWTG Lift Yearly UDT-maintenance
26243 | V136 3.45MW Mk3B Trafo Insp. 3 Month
26898 | V110 2.0MW Mk10D Trafo inspection 1 Year
35155 | A IS28 VAS trafo upgrade
35540 | LSI_0091-0657 - Up Tower Repair Int
35544 | LSI_0091-0657 - Up Tower Repair Ext
36101 | CIM 5036 Lightning band Repositioning
36102 | CIM 5036 Inspection of Lightning band
37042 | Follow up inspection of TE web scallop
43671 | Inspect for blade root wrinkles